## Slide 1: RNA-seq Quality Control
Before the analysis begins
stefania.giacomello@scilifelab.se
asa.bjorklund@scilifelab.se

## Slide 2: Overview
What can affect your data?
FastQC – read based QC
RSeQC – mapping based QC
PCA
Preventive measurements: spike-in controls, experimental design

## Slide 3: RNA-seq libraries
What could go wrong?

## Slide 4: What could go wrong?
RNA quality:
  Degradation
  Contaminations (pathogens or other sources)
  GC-bias
  Nuclear vs organellar reads
Library prep:
  Failed reactions
  RNA / Adapter ratios – primer dimers
  Clonal duplicates
  Chimeric reads
  Contaminations
Sequencing:
  Base calling errors
  Uncalled bases
  Low quality bases (3’ end)
  Contaminations
  Sequence complexity

## Slide 5: What could go wrong?
RNA quality:
  Degradation
  Contaminations (pathogens or other sources)
  GC-bias
  Nuclear vs organelle reads
Library prep:
  Failed reactions
  RNA / Adapter ratios – primer dimers
  Clonal duplicates
  Chimeric reads
  Contaminations
Sequencing:
  Base calling errors
  Uncalled bases
  Low quality bases (3’ end)
  Contaminations
  Sequence complexity

## Slide 6: What could go wrong?
RNA quality:
  Degradation
  Contaminations (pathogens or other sources)
  GC-bias
  Nuclear vs organelle reads
Library prep:
  Failed reactions
  RNA / Adapter ratios – primer dimers
  Clonal duplicates
  Chimeric reads
  Contaminations
Sequencing:
  Base calling errors
  Uncalled bases
  Low quality bases (3’ end)
  Contaminations
  Sequence complexity

## Slide 7: What could go wrong?
RNA quality:
  Degradation
  Contaminations (pathogens or other sources)
  GC-bias
  Nuclear vs organelle reads
Library prep:
  Failed reactions
  RNA / Adapter ratios – primer dimers
  Clonal duplicates
  Chimeric reads
  Contaminations
Sequencing:
  Base calling errors
  Uncalled bases
  Low quality bases (3’ end)
  Contaminations
  Sequence complexity

## Slide 8: From samples to reads - may not be what you think they are
Mixing samples
Experiments go wrong
How do we understand what went wrong?

## Slide 9: From samples to reads - may not be what you think they are
Mixing samples
Experiments go wrong
How do we understand what went wrong?
BIOINFORMATICS!

## Slide 10: RNA-seq analysis workflow
Reads
Reference
Mapping
Mapped reads
STAR
genome.fa
mappedReads.bam
reads.fastq.gz
Gene expression
Gene annotation:
ref.bed / ref.gtf

## Slide 11
Reads
Reference
Mapping
Mapped reads
STAR
genome.fa
mappedReads.bam
reads.fastq.gz
Gene expression
Gene annotation:
ref.bed / ref.gtf
Read QC
- FastQC
Mapping statistics
Mapping QC
- RseQC
Outlier detection, sample swaps

## Slide 12: Fastq – read file format
@SEQ_ID
GATTTGGGGTTCAAAGCAGTATCGATCAAATAGTAAATCCATTTGTTCAACTCACAGTTT
+
!''*((((***+))%%%++)(%%%%).1***-+*''))**55CCF>>>>>>CCCCCCC65
Paired end data usually in format sampleX_1.fastq and sampleX_2.fastq with same SEQ_ID for both mate pairs, followed by
/1 and /2 (or _f and _r)
Unique identifier
Sequence
Sequence quality

## Slide 13: Fastq – read file format
@SEQ_ID
GATTTGGGGTTCAAAGCAGTATCGATCAAATAGTAAATCCATTTGTTCAACTCACAGTTT
+
!''*((((***+))%%%++)(%%%%).1***-+*''))**55CCF>>>>>>CCCCCCC65

## Slide 14
Reads
Reference
Mapping
Mapped reads
STAR
genome.fa
mappedReads.bam
reads.fastq.gz
Gene expression
Gene annotation:
ref.bed / ref.gtf
Read QC
- FastQC

## Slide 15: Basic read metrics with FastQC
  A program that analyses some of the basic metrics on fastq raw read files.
    Quality
    Length
    Sequence bias
    GC content
    Repeated sequences
    Adapter contamination
Code
$ module load bioinfo-tools
$ module load FastQC/0.11.2
$ fastqc –o outdir seqfile.fastq
# multiple files:
$ fastqc –o outdir seqfile_*.fastq
http://www.bioinformatics.babraham.ac.uk/projects/fastqc/

## Slide 16: FastQC report

## Slide 17: Per base sequence quality

## Slide 18: Per tile sequence quality (Illumina)

## Slide 19: Per sequence quality scores

## Slide 20: Per base sequence content

## Slide 21: Per sequence GC content

## Slide 22: Sequence Duplication Levels

## Slide 23: Overrepresented sequences

## Slide 24: Adapter Content

## Slide 25: Kmer content

## Slide 26: Failed FastQC – what to do?
Try to figure out why
  If problem seem to be related to problems during sequencing – resequence!
  If problem is related to library prep – rerun if possible.
You can filter out the low quality reads
  Adapter trimming (cutadapt)
  Filter low phred score reads (samtools, jaccard)
If you have enough reads after filtering the data may still be useful.
But be careful to do equal trimming on all samples!

## Slide 27
Reads
Reference
Mapping
Mapped reads
STAR
genome.fa
mappedReads.bam
reads.fastq.gz
Gene expression
Gene annotation:
ref.bed / ref.gtf
Mapping statistics

## Slide 28: Mapping logs – mapping efficiency
Program specific how the output will be (STAR, Bowtie, BWA, Tophat…)
Always gives:
  % uniquely mapping – ideally around 90% for 100 bp reads
  % multi-mapping – will depend on read length
  % unmapped – could indicate contaminations, adaptors
Also statistics on:
  Mismatches / indels
  Splice junctions

## Slide 29: Bad mapping – what to do?
First step – try to figure out why it failed. With the use of FastQC/RseQC/Mapping logs.
  Perhaps also look for contaminant species
  Redo library prep controlling for possible errors
Low mapping, but not completely failed.
  Figure out why!
  Is it equal for all samples?
  Could it introduce any bias in the data?

## Slide 30
Reads
Reference
Mapping
Mapped reads
STAR
genome.fa
mappedReads.bam
reads.fastq.gz
Gene expression
Gene annotation:
ref.bed / ref.gtf
Mapping QC
- RseQC

## Slide 31: SAM/BAM file formats
All mapped reads with location in genome, mapping information etc.
SAM (Sequence Alignment/Map) format – alignment.sam
BAM is a compressed sam format – alignment.bam
A bam-file (always) needs to be indexed and sorted - alignment.bam.bai
Samtools – a simple program for converting between bam/sam, indexing, sorting, filtering, etc.
Code
$ module load bioinfo-tools
$ module load samtools

## Slide 32: SAM/BAM file format
More details on:
http://samtools.github.io/hts-specs/SAMv1.pdf
http://genome.sph.umich.edu/wiki/SAM
HWI-ST1018:7:1101:1648:2188#0 99 chr1 115275270 255 1S100M = 115275321 152 NTTCTATATTGGTTGCTCGCTCTAATTTGTCACGTCGGTCTGTTGAAATATTAAACCTAACATGGTCACCTTCCAGCAGGGTCACCTTGGATTTCGTATCT BS\cceeeggeggghhhhbghhhhhhhhhhfhhhhhhhfhhhhhhhffhhhffhhhfffgghhgg\Z^ddeeeedbdbdcacbabcbcccbbbcc^abbc] NH:i:1 HI:i:1 AS:i:194 nM:i:0
HWI-ST1018:7:1101:1648:2188#0 147 chr1 115275321 255 101M = 115275270 -152 AAACCTAACATGGTCACCTTCCAGCAGGGTCACCTTGGATTTCGTATCTTTGTCTCCAAAGGGAAGTTCTTTAGGGATCACAAAGTCNANTTTGNTNNGTC BBccbdccccccccbbcccccddcddeeeeccggggghihiiiiifhihfgiiihhhhihhihiiiihhiihiiiiihihhihgd]RBRBec]QBQBBbbb NH:i:1 HI:i:1 AS:i:194 nM:i:0
HWI-ST1018:7:1101:2039:2206#0 99 chr19 14574483 255 1S72M85N28M = 14574529 232 NCCTTCCGCAACCCTGTCATTGAGAGGATTCCTCGGCTCCGACGGCAGAAGAAAATTTTCTCCAAGCAGCAAGGGAAGGCGTTCCAGCGTGCTAGGCAGAT BP\cceeefgggghhighiiiiiiiiihhhiiiiihiiiiiiihiggeeedddddbbbcccbbccb^[`aaccccccccccX]accccc^acc]bc^b_a] NH:i:1 HI:i:1 AS:i:203 nM:i:0 XS:A:+
HWI-ST1018:7:1101:2039:2206#0 147 chr19 14574529 255 26M85N75M = 14574483 -232 GAAGAAAATTTTCTCCAAGCAGCAAGGGAAGGCGTTCCAGCGTGCTAGGCAGATGAACATCGATGTCGCCACGTGGGTGCGGCTGCTCCGGAGGCTCATCC ]ccdcccbbbacbcaccccbcccccccccccbcccaccccccccdd_dddeeeeeeeggggiiiiihihiiiiiiiihiihiiiiiiigfgggeeeeebbb NH:i:1 HI:i:1 AS:i:203 nM:i:0 XS:A:+

## Slide 33: After mapping - RseQC package
General sequence QC:
  sequence quality
  nucleotide composition bias
  PCR bias and
  GC bias
RNA-seq specific QC:
  evaluate sequencing saturation
  mapped reads distribution
  coverage uniformity
  strand specificity
  Etc..
Some tools for file manipulations
http://rseqc.sourceforge.net/
Code
$ module load bioinfo-tools
$ module load rseqc/2.4
$ geneBody_coverage.py –r ref.bed12 –i mappedReads.bam -o
genecoverage

## Slide 34: Soft clipping - clipping_profile.py

## Slide 35: Gene coverage - geneBody_coverage.py
Not degraded
Degraded

## Slide 36: Distance between PE-reads - inner_distance.py

## Slide 37: Where in the genome do your reads map? - read_distribution.py

## Slide 38: Known and novel splice junctions – junction_saturation.py or junction_annotation.py

## Slide 39: Gene detection subsampling - RPKM_saturation.py How deep do you need to sequence?

## Slide 40: Bad RseQC output – what to do?
Try to figure out what went wrong.
  Redo library prep controlling for possible errors
  Is it equal for all samples?
  Could it introduce any bias in the data?
RNA-degradation in some samples
  Possible to use a region at 3’ end for expression estimates.

## Slide 41: MultiQC – summary of QC stats
( http://multiqc.info/ )
Code
$ module load bioinfo-tools
$ module load MultiQC
$ multiqc .

## Slide 42
Reads
Reference
Mapping
Mapped reads
STAR
genome.fa
mappedReads.bam
reads.fastq.gz
Gene expression
Gene annotation:
ref.bed / ref.gtf
Outlier detection, sample swaps

## Slide 43: Sample swaps and outliers can be identified using PCA
Reads
Reference
Mapping
Mapped reads
Expression
per gene
Reads
Reference
Mapping
Mapped reads
Expression
per gene
Reads
Reference
Mapping
Mapped reads
Expression
per gene
Reads
Reference
Mapping
Mapped reads
Expression
per gene
Reads
Reference
Mapping
Mapped reads
Expression
per gene
Reads
Reference
Mapping
Mapped reads
Expression
per gene
Reads
Reference
Mapping
Mapped reads
Expression
per gene
Table with counts, rpkms, fpkms or similar

## Slide 44: Differences in read distribution between samples can be identified using Principal Component Analysis (PCA)

## Slide 45: QC test case 1
Samples from three different species
C.rubella
  Small flowers
  Normal leaves
  Genome is sequenced
C. grandiflora
  Large flowers
  Normal leaves
Hybrid
  Intermediate flowers
  Normal leaves

## Slide 46: Principal component 1 separates samples from flowers and leaves
C. rubella

## Slide 47: Principal component 2 and 3 separates the different species
C. rubella
C. grandiflora
C. rubella
hybrid

## Slide 48: QC test case 2
4 Tissues
  Fat body
  Gut
  Labial gland
  Malphighian tubules
3 Phylogenetic groups
>70 samples

## Slide 49: PCA analysis detected potential sample swaps

## Slide 50: QC test case 3
PCA detects clear batch effect
(Luo et al. Pharmacogen. J. 2010)

## Slide 51: My PCA looks strange – what to do?
Clear sample swaps
  Check sequence indices, lab logs etc. to verify new classification.
  If you have enough replicates, remove instead of changing labels if you are uncertain.
Clear batch effects
  Can use batch normalization to remove the effect
Outliers
  Figure out why they are outliers
  Do not remove samples only because they do not fit your expectation – Bad science!
PCA does not group my sample sets
  Try different methods of dimensionality reduction / clustering
  Perhaps technical/biological variation is higher than your expected effect -> Batch normalization

## Slide 52: Sources of variation
Biological variation
  Patient to patient variation
  Sex
  Time points of samples taken
  Etc…..
Technical variation
  At each step of RNA extraction and library preparation

## Slide 53: Spike-in control RNA
Addition of external RNA molecules into the samples before library prep
Will give estimate of technical variation:
  Sensitivity / detection
  Accuracy
  Specific biases
  Also used to estimate amount of RNA in the samples
Most commonly ERCC - pool of 48 or 96 synthetic mRNAs with various lengths and GC content, at 17 different concentrations
Allows for cross comparison of datasets

## Slide 54
(https://cofactorgenomics.com)

## Slide 55: Technical noise / Biological variation
Squared coefficient of variation: CV2
CV = std / mean

## Slide 56: Replicates, replicates, replicates
Technical replicates
Biological replicates
If you have enough material, always do extra replicates in case you want to remove low quality samples.

## Slide 57: Experimental Design

## Slide 58: Conclusions
Good quality data is the first step in any RNA-seq experiment
The reason for low quality samples may require some detective work
More replicates allows you to filter out low quality libraries without losing statistical power
Depending on where you sequence, some of the QC steps will be performed at the platform.

## Slide 59: Questions?